## Slide 1
Trial 0 - Sobol
Metric | Value
Separation (Resolution) | 0.889
Last Elution (min) | 5.286
# Peaks | 10
Reward | 0.2750

## Slide 2
Trial 1 - Sobol
Metric | Value
Separation (Resolution) | 2.138
Last Elution (min) | 13.193
# Peaks | 9
Reward | 0.1380

## Slide 3
Trial 2 - Sobol
Metric | Value
Separation (Resolution) | 0.649
Last Elution (min) | 9.464
# Peaks | 11
Reward | 0.4098

## Slide 4
Trial 3 - Sobol
Metric | Value
Separation (Resolution) | 0.996
Last Elution (min) | 4.564
# Peaks | 10
Reward | 0.2465

## Slide 5
Trial 4 - Sobol
Metric | Value
Separation (Resolution) | 0.787
Last Elution (min) | 15.635
# Peaks | 9
Reward | 0.4440

## Slide 6
Trial 5 - Sobol
Metric | Value
Separation (Resolution) | 1.725
Last Elution (min) | 14.078
# Peaks | 9
Reward | 0.2408

## Slide 7
Trial 6 - BoTorch
Metric | Value
Separation (Resolution) | 1.477
Last Elution (min) | 9.876
# Peaks | 9
Reward | 0.2484

## Slide 8
Trial 7 - BoTorch
Metric | Value
Separation (Resolution) | 2.698
Last Elution (min) | 14.936
# Peaks | 9
Reward | 0.1496

## Slide 9
Trial 8 - BoTorch
Metric | Value
Separation (Resolution) | 1.191
Last Elution (min) | 13.491
# Peaks | 10
Reward | 0.2968

## Slide 10
Trial 9 - BoTorch
Metric | Value
Separation (Resolution) | 2.483
Last Elution (min) | 13.327
# Peaks | 9
Reward | 0.1388

## Slide 11
Trial 10 - BoTorch
Metric | Value
Separation (Resolution) | 2.850
Last Elution (min) | 15.226
# Peaks | 9
Reward | 0.1515

## Slide 12
Trial 11 - BoTorch
Metric | Value
Separation (Resolution) | 1.309
Last Elution (min) | 14.223
# Peaks | 10
Reward | 0.2804

## Slide 13
Trial 12 - BoTorch
Metric | Value
Separation (Resolution) | 0.805
Last Elution (min) | 15.034
# Peaks | 10
Reward | 0.3894

## Slide 14
Trial 13 - BoTorch
Metric | Value
Separation (Resolution) | 1.132
Last Elution (min) | 13.221
# Peaks | 10
Reward | 0.3058

## Slide 15
Trial 14 - BoTorch
Metric | Value
Separation (Resolution) | 0.957
Last Elution (min) | 12.335
# Peaks | 10
Reward | 0.3319

## Slide 16
Trial 15 - BoTorch
Metric | Value
Separation (Resolution) | 0.824
Last Elution (min) | 10.287
# Peaks | 11
Reward | 0.3831

## Slide 17
Trial 16 - BoTorch
Metric | Value
Separation (Resolution) | 0.884
Last Elution (min) | 2.428
# Peaks | 10
Reward | 0.2475

## Slide 18
Trial 17 - BoTorch
Metric | Value
Separation (Resolution) | 0.962
Last Elution (min) | 8.371
# Peaks | 10
Reward | 0.2913

## Slide 19
Trial 18 - Sobol
Metric | Value
Separation (Resolution) | 2.251
Last Elution (min) | 13.130
# Peaks | 9
Reward | 0.1375

## Slide 20
Trial 19 - Sobol
Metric | Value
Separation (Resolution) | 1.538
Last Elution (min) | 8.927
# Peaks | 9
Reward | 0.2117

## Slide 21
Trial 20 - Sobol
Metric | Value
Separation (Resolution) | 0.892
Last Elution (min) | 8.790
# Peaks | 10
Reward | 0.2949

## Slide 22
Trial 21 - Sobol
Metric | Value
Separation (Resolution) | 1.475
Last Elution (min) | 6.761
# Peaks | 10
Reward | 0.1613

## Slide 23
Trial 22 - Sobol
Metric | Value
Separation (Resolution) | 0.783
Last Elution (min) | 15.748
# Peaks | 10
Reward | 0.3746

## Slide 24
Trial 23 - Sobol
Metric | Value
Separation (Resolution) | 1.835
Last Elution (min) | 11.118
# Peaks | 9
Reward | 0.1706

## Slide 25
Trial 24 - Sobol
Metric | Value
Separation (Resolution) | 3.957
Last Elution (min) | 16.082
# Peaks | 8
Reward | 0.1893

## Slide 26
Trial 25 - Sobol
Metric | Value
Separation (Resolution) | 2.106
Last Elution (min) | 7.336
# Peaks | 10
Reward | 0.0408

## Slide 27
Trial 26 - Sobol
Metric | Value
Separation (Resolution) | 1.737
Last Elution (min) | 11.565
# Peaks | 9
Reward | 0.1941

## Slide 28
Trial 27 - Sobol
Metric | Value
Separation (Resolution) | 1.351
Last Elution (min) | 11.673
# Peaks | 11
Reward | 0.2721

## Slide 29
Trial 28 - Sobol
Metric | Value
Separation (Resolution) | 0.891
Last Elution (min) | 3.574
# Peaks | 11
Reward | 0.2965

## Slide 30
Trial 29 - Sobol
Metric | Value
Separation (Resolution) | 1.596
Last Elution (min) | 15.892
# Peaks | 9
Reward | 0.2583

## Slide 31
Trial 30 - BoTorch
Metric | Value
Separation (Resolution) | 2.247
Last Elution (min) | 9.367
# Peaks | 10
Reward | 0.0520

## Slide 32
Trial 31 - BoTorch
Metric | Value
Separation (Resolution) | 1.215
Last Elution (min) | 9.570
# Peaks | 9
Reward | 0.2817

## Slide 33
Trial 32 - BoTorch
Metric | Value
Separation (Resolution) | 0.821
Last Elution (min) | 5.988
# Peaks | 10
Reward | 0.2856

## Slide 34
Trial 33 - BoTorch
Metric | Value
Separation (Resolution) | 1.653
Last Elution (min) | 12.254
# Peaks | 10
Reward | 0.1715

## Slide 35
Trial 34 - BoTorch
Metric | Value
Separation (Resolution) | 3.774
Last Elution (min) | 6.895
# Peaks | 9
Reward | 0.0883

## Slide 36
Trial 35 - BoTorch
Metric | Value
Separation (Resolution) | 0.992
Last Elution (min) | 8.355
# Peaks | 10
Reward | 0.2713

## Slide 37
Trial 36 - BoTorch
Metric | Value
Separation (Resolution) | 0.601
Last Elution (min) | 6.146
# Peaks | 10
Reward | 0.3309

## Slide 38
Trial 37 - BoTorch
Metric | Value
Separation (Resolution) | 3.242
Last Elution (min) | 17.393
# Peaks | 8
Reward | 0.1966

## Slide 39
Trial 38 - BoTorch
Metric | Value
Separation (Resolution) | 1.988
Last Elution (min) | 15.389
# Peaks | 10
Reward | 0.1306

## Slide 40
Trial 39 - BoTorch
Metric | Value
Separation (Resolution) | 1.739
Last Elution (min) | 10.028
# Peaks | 9
Reward | 0.1808

## Slide 41
Trial 40 - BoTorch
Metric | Value
Separation (Resolution) | 1.017
Last Elution (min) | 14.028
# Peaks | 10
Reward | 0.3135

## Slide 42
Trial 41 - BoTorch
Metric | Value
Separation (Resolution) | 0.127
Last Elution (min) | 14.818
# Peaks | 11
Reward | 0.3431

## Slide 43
Trial 42 - BoTorch
Metric | Value
Separation (Resolution) | 1.117
Last Elution (min) | 8.833
# Peaks | 10
Reward | 0.2501

## Slide 44
Trial 43 - BoTorch
Metric | Value
Separation (Resolution) | 0.214
Last Elution (min) | 15.745
# Peaks | 11
Reward | 0.3333

## Slide 45
Trial 44 - BoTorch
Metric | Value
Separation (Resolution) | 2.280
Last Elution (min) | 6.601
# Peaks | 10
Reward | 0.0367

## Slide 46
Trial 45 - BoTorch
Metric | Value
Separation (Resolution) | 0.805
Last Elution (min) | 5.472
# Peaks | 10
Reward | 0.2846

## Slide 47
Trial 46 - BoTorch
Metric | Value
Separation (Resolution) | 2.164
Last Elution (min) | 5.922
# Peaks | 10
Reward | 0.0329

## Slide 48
Trial 47 - BoTorch
Metric | Value
Separation (Resolution) | 1.598
Last Elution (min) | 15.179
# Peaks | 10
Reward | 0.2069

## Slide 49
Trial 48 - BoTorch
Metric | Value
Separation (Resolution) | 0.819
Last Elution (min) | 3.558
# Peaks | 11
Reward | 0.3108

## Slide 50
Trial 49 - BoTorch
Metric | Value
Separation (Resolution) | 0.736
Last Elution (min) | 5.763
# Peaks | 10
Reward | 0.3008